## Glossario
Glossary
Sheet: Nodes
| Header | Description
| Node ID | Node ID
| Vn [kV] | Nominal voltage
| Feeder | Feeder code
Sheet: Lines
| Header | Description
| Line ID | Line ID
| From | From node
| To | To node
| Line Type | Line Type
| Vn [kV] | Nominal voltage
| Length [km] | Lenght
| N_Branches | Number of branches
Sheet: Transformers
| Header | Description
| Transf ID | Transformer ID
| Transf Type | Transformer type
| HV Node | HV node
| LV Node | LV node
| Vrated1 [kV] | HV node nominal voltage
| Vrated2 [kV] | LV node nominal voltage
Sheet: Loads
| Header | Description
| Load ID | Load ID
| Node | Connected node
| Pn [MW] | Active nominal power
| Qn [Mvar] | Reactive nominal power
| Load Type | Load type
Sheet: Static generators
| Header | Description
| Gen ID | Generator ID
| Node | Connected node
| P_oper [MW] | Active nominal power
| Q_oper [MVar] | Reactive nominal power
| Profile Type | Profile type

## Nodes
Node ID | Vn [kV] | Feeder
N_001 | 132
N_006 | 15
N_039 | 15 | F_3
N_044 | 15 | F_3
N_045 | 15 | F_3
N_046 | 15 | F_3
N_047 | 15 | F_3
N_048 | 15 | F_3
N_049 | 15 | F_3
N_050 | 15 | F_3
N_051 | 15 | F_3
N_052 | 15 | F_3
N_054 | 15 | F_3
N_055 | 15 | F_3
N_056 | 15 | F_3
N_061 | 15 | F_10
N_062 | 15 | F_10
N_063 | 15 | F_10
N_064 | 15 | F_10
N_071 | 15 | F_11
N_072 | 15 | F_11
N_074 | 15 | F_11
N_082 | 15 | F_4
N_085 | 15 | F_4
N_086 | 15 | F_4
N_087 | 15 | F_4
N_088 | 15 | F_4
N_089 | 15 | F_4
N_090 | 15 | F_4
N_091 | 15 | F_4
N_092 | 15 | F_4
N_093 | 15 | F_4
N_107 | 15 | F_7
N_108 | 15 | F_7
N_109 | 15 | F_7
N_110 | 15 | F_7
N_111 | 15 | F_7
N_112 | 15 | F_7
N_113 | 15 | F_7
N_131 | 15 | F_9
N_132 | 15 | F_9
N_133 | 15 | F_9
N_134 | 15 | F_9
N_135 | 15 | F_9
N_136 | 15 | F_9
N_137 | 15 | F_9
N_138 | 15 | F_9
N_139 | 15 | F_9
N_150 | 15 | F_6
N_157 | 15 | F_6
N_158 | 15 | F_6
N_159 | 15 | F_6
N_160 | 15 | F_6
N_161 | 15 | F_6
N_162 | 15 | F_6
N_163 | 15 | F_6
N_164 | 15 | F_6
N_170 | 15 | F_5
N_171 | 15 | F_5
N_172 | 15 | F_5
N_173 | 15 | F_5
N_174 | 15 | F_5
N_188 | 15 | F_2
N_190 | 15 | F_2
N_191 | 15 | F_2
N_192 | 15 | F_2
N_193 | 15 | F_2
N_194 | 15 | F_2
N_195 | 15 | F_2
N_196 | 15 | F_2
N_212 | 15 | F_1
N_213 | 15 | F_1
N_214 | 15 | F_1
N_215 | 15 | F_1
N_216 | 15 | F_1
N_217 | 15 | F_1
N_218 | 15 | F_1
N_219 | 15 | F_1
N_220 | 15 | F_1
N_221 | 15 | F_1
N_222 | 15 | F_1
N_223 | 15 | F_1
N_224 | 15 | F_1
N_225 | 15 | F_1
N_226 | 15 | F_1
N_239 | 15 | F_8
N_240 | 15 | F_8
N_241 | 15 | F_8
N_242 | 15 | F_8
N_243 | 15 | F_8
N_244 | 15 | F_8
N_246 | 15 | F_8
N_247 | 15 | F_8
N_248 | 15 | F_8
N_249 | 15 | F_8
N_250 | 15 | F_8
N_251 | 15 | F_8

## Lines
Line ID | From | To | Line Type | Vn [kV] | Length [km] | N_Branches
L_006-047 | N_006 | N_047 | UC_CU_160_340 | 15 | 0.5 | 2
L_006-063 | N_006 | N_063 | UC_AL_185_330 | 15 | 0.564 | 3
L_006-071 | N_006 | N_071 | UC_CU_160_340 | 15 | 0.527 | 3
L_006-091 | N_006 | N_091 | UC_CU_120_360 | 15 | 0.753 | 2
L_006-112 | N_006 | N_112 | UC_CU_120_280 | 15 | 1.365 | 3
L_006-136 | N_006 | N_136 | UC_CU_120_280 | 15 | 0.5 | 4
L_006-157 | N_006 | N_157 | UC_AL_185_330 | 15 | 0.18 | 1
L_006-173 | N_006 | N_173 | UC_CU_150_320 | 15 | 2.387 | 4
L_006-196 | N_006 | N_196 | UC_CU_150_320 | 15 | 0.81 | 3
L_006-223 | N_006 | N_223 | UC_AL_185_330 | 15 | 0.025 | 1
L_006-241 | N_006 | N_241 | UC_CU_160_340 | 15 | 0.233 | 3
L_044-050 | N_044 | N_050 | UC_CU_100_252 | 15 | 0.04 | 1
L_046-056 | N_046 | N_056 | UC_CU_100_252 | 15 | 0.25 | 2
L_047-052 | N_047 | N_052 | UC_CU_160_340 | 15 | 0.2 | 1
L_048-055 | N_048 | N_055 | UC_AL_150_240 | 15 | 0.22 | 2
L_049-054 | N_049 | N_054 | UC_CU_95_245 | 15 | 0.242 | 1
L_050-049 | N_050 | N_049 | UC_CU_95_245 | 15 | 0.46 | 1
L_052-046 | N_052 | N_046 | UC_AL_150_240 | 15 | 0.16 | 3
L_052-051 | N_052 | N_051 | UC_CU_100_252 | 15 | 0.22 | 1
L_054-039 | N_054 | N_039 | UC_AL_185_330 | 15 | 0.001 | 1
L_054-048 | N_054 | N_048 | UC_CU_95_245 | 15 | 0.45 | 2
L_055-045 | N_055 | N_045 | UC_CU_100_252 | 15 | 0.04 | 1
L_056-044 | N_056 | N_044 | UC_CU_100_252 | 15 | 0.26 | 1
L_062-064 | N_062 | N_064 | UC_AL_185_330 | 15 | 0.05 | 1
L_063-062 | N_063 | N_062 | UC_AL_185_330 | 15 | 0.168 | 2
L_064-061 | N_064 | N_061 | UC_CU_150_320 | 15 | 0.274 | 2
L_071-072 | N_071 | N_072 | UC_CU_160_340 | 15 | 0.3 | 3
L_071-074 | N_071 | N_074 | UC_AL_240_360 | 15 | 0.125 | 1
L_086-090 | N_086 | N_090 | UC_AL_150_240 | 15 | 0.08 | 1
L_087-086 | N_087 | N_086 | UC_AL_150_240 | 15 | 0.11 | 3
L_088-089 | N_088 | N_089 | UC_AL_240_360 | 15 | 0.102 | 3
L_089-085 | N_089 | N_085 | UC_AL_240_360 | 15 | 0.07 | 3
L_090-093 | N_090 | N_093 | UC_CU_120_280 | 15 | 0.865 | 2
L_091-092 | N_091 | N_092 | UC_AL_150_280 | 15 | 0.03 | 1
L_092-087 | N_092 | N_087 | UC_AL_150_240 | 15 | 0.12 | 2
L_093-082 | N_093 | N_082 | UC_AL_185_330 | 15 | 0.001 | 1
L_093-088 | N_093 | N_088 | UC_CU_160_340 | 15 | 0.118 | 2
L_108-109 | N_108 | N_109 | UC_AL_240_360 | 15 | 0.239 | 2
L_109-111 | N_109 | N_111 | UC_AL_240_360 | 15 | 0.16 | 1
L_110-107 | N_110 | N_107 | UC_AL_240_360 | 15 | 0.15 | 3
L_111-110 | N_111 | N_110 | UC_AL_240_360 | 15 | 0.393 | 2
L_112-113 | N_112 | N_113 | UC_AL_150_280 | 15 | 0.105 | 1
L_113-108 | N_113 | N_108 | UC_AL_240_360 | 15 | 0.239 | 2
L_132-131 | N_132 | N_131 | UC_AL_150_280 | 15 | 0.2 | 1
L_133-132 | N_133 | N_132 | UC_AL_150_280 | 15 | 0.17 | 1
L_134-137 | N_134 | N_137 | UC_AL_150_280 | 15 | 0.125 | 2
L_135-138 | N_135 | N_138 | UC_AL_150_280 | 15 | 0.21 | 3
L_136-135 | N_136 | N_135 | UC_AL_120_260 | 15 | 0.835 | 5
L_137-139 | N_137 | N_139 | UC_AL_150_240 | 15 | 0.2 | 2
L_138-134 | N_138 | N_134 | UC_AL_150_280 | 15 | 0.295 | 4
L_139-133 | N_139 | N_133 | UC_AL_150_280 | 15 | 0.15 | 1
L_157-160 | N_157 | N_160 | UC_AL_185_330 | 15 | 0.05 | 1
L_159-158 | N_159 | N_158 | UC_AL_150_280 | 15 | 0.025 | 1
L_159-162 | N_159 | N_162 | UC_AL_240_360 | 15 | 0.21 | 3
L_160-159 | N_160 | N_159 | UC_AL_240_360 | 15 | 0.18 | 1
L_162-164 | N_162 | N_164 | UC_CU_100_252 | 15 | 0.25 | 1
L_163-150 | N_163 | N_150 | UC_AL_185_330 | 15 | 0.001 | 1
L_163-161 | N_163 | N_161 | UC_CU_100_252 | 15 | 0.088 | 2
L_164-163 | N_164 | N_163 | UC_CU_100_252 | 15 | 0.25 | 3
L_170-174 | N_170 | N_174 | UC_AL_240_360 | 15 | 0.01 | 1
L_172-171 | N_172 | N_171 | UC_AL_240_360 | 15 | 0.635 | 4
L_173-170 | N_173 | N_170 | UC_AL_240_360 | 15 | 0.015 | 1
L_174-172 | N_174 | N_172 | UC_AL_240_360 | 15 | 0.18 | 1
L_188-192 | N_188 | N_192 | UC_CU_160_340 | 15 | 0.075 | 1
L_190-195 | N_190 | N_195 | UC_AL_150_280 | 15 | 0.059 | 2
L_191-190 | N_191 | N_190 | UC_CU_100_252 | 15 | 0.089 | 2
L_192-191 | N_192 | N_191 | UC_CU_100_252 | 15 | 0.06 | 1
L_193-194 | N_193 | N_194 | UC_CU_160_340 | 15 | 0.16 | 2
L_194-188 | N_194 | N_188 | UC_CU_160_340 | 15 | 0.11 | 3
L_196-193 | N_196 | N_193 | UC_CU_150_320 | 15 | 0.738 | 4
L_212-222 | N_212 | N_222 | UC_AL_150_240 | 15 | 0.25 | 1
L_213-217 | N_213 | N_217 | UC_CU_100_252 | 15 | 0.25 | 2
L_214-220 | N_214 | N_220 | UC_CU_95_245 | 15 | 0.07 | 1
L_215-219 | N_215 | N_219 | UC_AL_150_240 | 15 | 0.07 | 1
L_216-225 | N_216 | N_225 | UC_AL_150_280 | 15 | 0.38 | 2
L_217-212 | N_217 | N_212 | UC_CU_100_252 | 15 | 0.5 | 3
L_218-226 | N_218 | N_226 | UC_AL_150_280 | 15 | 0.181 | 1
L_219-213 | N_219 | N_213 | UC_CU_100_252 | 15 | 0.29 | 2
L_220-216 | N_220 | N_216 | UC_CU_100_252 | 15 | 0.84 | 2
L_221-224 | N_221 | N_224 | UC_CU_100_252 | 15 | 0.22 | 1
L_222-221 | N_222 | N_221 | UC_CU_100_252 | 15 | 0.42 | 1
L_223-215 | N_223 | N_215 | UC_AL_150_240 | 15 | 0.04 | 1
L_224-218 | N_224 | N_218 | UC_AL_150_280 | 15 | 0.237 | 1
L_226-214 | N_226 | N_214 | UC_CU_95_245 | 15 | 0.34 | 1
L_240-243 | N_240 | N_243 | UC_AL_150_240 | 15 | 0.15 | 1
L_240-250 | N_240 | N_250 | UC_AL_150_240 | 15 | 0.37 | 1
L_241-240 | N_241 | N_240 | UC_AL_240_320 | 15 | 1.25 | 3
L_243-242 | N_243 | N_242 | UC_AL_150_280 | 15 | 0.53 | 2
L_244-248 | N_244 | N_248 | UC_CU_100_252 | 15 | 0.25 | 3
L_246-244 | N_246 | N_244 | UC_CU_95_245 | 15 | 0.245 | 2
L_247-239 | N_247 | N_239 | UC_CU_95_245 | 15 | 0.045 | 2
L_249-247 | N_249 | N_247 | UC_CU_95_245 | 15 | 0.2 | 2
L_250-249 | N_250 | N_249 | UC_CU_100_252 | 15 | 0.25 | 1
L_250-251 | N_250 | N_251 | UC_AL_150_240 | 15 | 0.54 | 2
L_251-246 | N_251 | N_246 | UC_CU_95_245 | 15 | 0.459 | 1

## Transformers
Transf ID | Transf Type | HV Node | LV Node | Vrated1 [kV] | Vrated2 [kV]
T_001 | 132/15_40_OLTC | N_001 | N_006 | 132 | 15

## Loads
Load ID | Node | Pn [MW] | Qn [Mvar] | Load Type
Load_006_A | N_006 | 0.068 | 0.033 | COM
Load_039_A | N_039 | 0.149 | 0.072 | U_RES
Load_039_A | N_039 | 0.021 | 0.01 | COM
Load_044_A | N_044 | 0.069 | 0.034 | U_IND
Load_045_A | N_045 | 0.064 | 0.031 | U_IND
Load_046_A | N_046 | 0.032 | 0.016 | U_IND
Load_047_A | N_047 | 0.027 | 0.013 | U_IND
Load_048_A | N_048 | 0.107 | 0.052 | COM
Load_049_A | N_049 | 0.171 | 0.083 | U_RES
Load_049_A | N_049 | 0.171 | 0.083 | U_RES
Load_050_A | N_050 | 0.171 | 0.083 | U_RES
Load_051_A | N_051 | 0.171 | 0.083 | U_RES
Load_051_A | N_051 | 0.269 | 0.13 | U_UFF
Load_051_A | N_051 | 0.269 | 0.13 | U_UFF
Load_052_A | N_052 | 0.171 | 0.083 | U_RES
Load_052_A | N_052 | 0.171 | 0.083 | U_RES
Load_054_A | N_054 | 0.171 | 0.083 | U_RES
Load_055_A | N_055 | 0.135 | 0.065 | U_RES
Load_056_A | N_056 | 0.171 | 0.083 | U_RES
Load_061_A | N_061 | 0.1 | 0.048 | U_IND
Load_062_A | N_062 | 0.132 | 0.064 | U_IND
Load_062_A | N_062 | 0.089 | 0.043 | U_IND
Load_062_A | N_062 | 0.269 | 0.13 | U_UFF
Load_063_A | N_063 | 0.047 | 0.023 | U_IND
Load_063_A | N_063 | 0.182 | 0.088 | U_IND
Load_063_A | N_063 | 0.269 | 0.13 | U_UFF
Load_063_A | N_063 | 0.269 | 0.13 | U_UFF
Load_064_A | N_064 | 0.269 | 0.13 | U_UFF
Load_071_A | N_071 | 0.171 | 0.083 | U_RES
Load_071_A | N_071 | 0.085 | 0.041 | COM
Load_072_A | N_072 | 0.171 | 0.083 | U_RES
Load_072_A | N_072 | 0.135 | 0.065 | U_RES
Load_074_A | N_074 | 0.107 | 0.052 | COM
Load_074_A | N_074 | 0.107 | 0.052 | COM
Load_082_A | N_082 | 0.085 | 0.041 | COM
Load_082_A | N_082 | 0.085 | 0.041 | COM
Load_086_A | N_086 | 0.091 | 0.044 | U_IND
Load_087_A | N_087 | 0.131 | 0.063 | U_IND
Load_088_A | N_088 | 0.171 | 0.083 | U_RES
Load_089_A | N_089 | 0.171 | 0.083 | U_RES
Load_089_A | N_089 | 0.171 | 0.083 | U_RES
Load_090_A | N_090 | 0.171 | 0.083 | U_RES
Load_091_A | N_091 | 0.107 | 0.052 | COM
Load_091_A | N_091 | 0.135 | 0.065 | U_RES
Load_092_A | N_092 | 0.171 | 0.083 | U_RES
Load_093_A | N_093 | 0.171 | 0.083 | U_RES
Load_107_A | N_107 | 0.171 | 0.083 | U_RES
Load_108_A | N_108 | 0.269 | 0.13 | U_UFF
Load_109_A | N_109 | 0.269 | 0.13 | U_UFF
Load_109_A | N_109 | 0.269 | 0.13 | U_UFF
Load_109_A | N_109 | 0.269 | 0.13 | U_UFF
Load_109_A | N_109 | 0.107 | 0.052 | COM
Load_110_A | N_110 | 0.269 | 0.13 | U_UFF
Load_110_A | N_110 | 0.107 | 0.052 | COM
Load_111_A | N_111 | 0.171 | 0.083 | U_RES
Load_111_A | N_111 | 0.269 | 0.13 | U_UFF
Load_112_A | N_112 | 0.171 | 0.083 | U_RES
Load_113_A | N_113 | 0.171 | 0.083 | U_RES
Load_113_A | N_113 | 0.135 | 0.065 | U_RES
Load_131_A | N_131 | 0.107 | 0.052 | COM
Load_131_A | N_131 | 0.085 | 0.041 | COM
Load_132_A | N_132 | 0.171 | 0.083 | U_RES
Load_132_A | N_132 | 0.107 | 0.052 | COM
Load_133_A | N_133 | 0.171 | 0.083 | U_RES
Load_134_A | N_134 | 0.171 | 0.083 | U_RES
Load_134_A | N_134 | 0.171 | 0.083 | U_RES
Load_135_A | N_135 | 0.171 | 0.083 | U_RES
Load_135_A | N_135 | 0.171 | 0.083 | U_RES
Load_136_A | N_136 | 0.171 | 0.083 | U_RES
Load_136_A | N_136 | 0.171 | 0.083 | U_RES
Load_137_A | N_137 | 0.171 | 0.083 | U_RES
Load_138_A | N_138 | 0.107 | 0.052 | COM
Load_138_A | N_138 | 0.107 | 0.052 | COM
Load_138_A | N_138 | 0.107 | 0.052 | COM
Load_139_A | N_139 | 0.171 | 0.083 | U_RES
Load_139_A | N_139 | 0.171 | 0.083 | U_RES
Load_150_A | N_150 | 0.085 | 0.041 | COM
Load_150_A | N_150 | 0.085 | 0.041 | COM
Load_157_A | N_157 | 0.269 | 0.13 | U_UFF
Load_158_A | N_158 | 0.056 | 0.027 | U_IND
Load_159_A | N_159 | 0.107 | 0.052 | COM
Load_159_A | N_159 | 0.107 | 0.052 | COM
Load_160_A | N_160 | 0.107 | 0.052 | COM
Load_160_A | N_160 | 0.171 | 0.083 | U_RES
Load_160_A | N_160 | 0.171 | 0.083 | U_RES
Load_161_A | N_161 | 0.135 | 0.065 | U_RES
Load_161_A | N_161 | 0.135 | 0.065 | U_RES
Load_162_A | N_162 | 0.135 | 0.065 | U_RES
Load_162_A | N_162 | 0.107 | 0.052 | COM
Load_163_A | N_163 | 0.171 | 0.083 | U_RES
Load_163_A | N_163 | 0.171 | 0.083 | U_RES
Load_164_A | N_164 | 0.107 | 0.052 | COM
Load_164_A | N_164 | 0.107 | 0.052 | COM
Load_164_A | N_164 | 0.107 | 0.052 | COM
Load_170_A | N_170 | 0.151 | 0.073 | U_IND
Load_170_A | N_170 | 0.405 | 0.196 | U_IND
Load_170_A | N_170 | 0.184 | 0.089 | U_IND
Load_171_A | N_171 | 0.056 | 0.027 | U_IND
Load_171_A | N_171 | 0.107 | 0.052 | COM
Load_171_A | N_171 | 0.107 | 0.052 | COM
Load_172_A | N_172 | 0.269 | 0.13 | U_UFF
Load_173_A | N_173 | 0.269 | 0.13 | U_UFF
Load_174_A | N_174 | 0.269 | 0.13 | U_UFF
Load_188_A | N_188 | 0.508 | 0.246 | U_IND
Load_190_A | N_190 | 0.095 | 0.046 | U_IND
Load_191_A | N_191 | 0.162 | 0.078 | U_IND
Load_191_A | N_191 | 0.269 | 0.13 | U_UFF
Load_191_A | N_191 | 0.269 | 0.13 | U_UFF
Load_191_A | N_191 | 0.269 | 0.13 | U_UFF
Load_192_A | N_192 | 0.237 | 0.115 | U_IND
Load_192_A | N_192 | 0.269 | 0.13 | U_UFF
Load_192_A | N_192 | 0.269 | 0.13 | U_UFF
Load_192_A | N_192 | 0.269 | 0.13 | U_UFF
Load_193_A | N_193 | 0.171 | 0.083 | U_RES
Load_193_A | N_193 | 0.171 | 0.083 | U_RES
Load_194_A | N_194 | 0.107 | 0.052 | COM
Load_194_A | N_194 | 0.171 | 0.083 | U_RES
Load_195_A | N_195 | 0.171 | 0.083 | U_RES
Load_195_A | N_195 | 0.171 | 0.083 | U_RES
Load_195_A | N_195 | 0.171 | 0.083 | U_RES
Load_196_A | N_196 | 0.035 | 0.017 | U_IND
Load_196_A | N_196 | 0.36 | 0.174 | U_IND
Load_212_A | N_212 | 0.022 | 0.01 | U_IND
Load_213_A | N_213 | 0.288 | 0.139 | U_IND
Load_213_A | N_213 | 0.171 | 0.083 | U_RES
Load_214_A | N_214 | 0.126 | 0.061 | U_IND
Load_215_A | N_215 | 0.106 | 0.051 | U_IND
Load_216_A | N_216 | 0.171 | 0.083 | U_RES
Load_217_A | N_217 | 0.135 | 0.065 | U_RES
Load_218_A | N_218 | 0.171 | 0.083 | U_RES
Load_219_A | N_219 | 0.171 | 0.083 | U_RES
Load_219_A | N_219 | 0.171 | 0.083 | U_RES
Load_220_A | N_220 | 0.107 | 0.052 | COM
Load_221_A | N_221 | 0.171 | 0.083 | U_RES
Load_222_A | N_222 | 0.107 | 0.052 | COM
Load_222_A | N_222 | 0.107 | 0.052 | COM
Load_223_A | N_223 | 0.269 | 0.13 | U_UFF
Load_224_A | N_224 | 0.171 | 0.083 | U_RES
Load_225_A | N_225 | 0.107 | 0.052 | COM
Load_226_A | N_226 | 0.107 | 0.052 | COM
Load_226_A | N_226 | 0.171 | 0.083 | U_RES
Load_240_A | N_240 | 0.17 | 0.083 | U_IND
Load_241_A | N_241 | 0.269 | 0.13 | U_UFF
Load_242_A | N_242 | 0.269 | 0.13 | U_UFF
Load_242_A | N_242 | 0.269 | 0.13 | U_UFF
Load_243_A | N_243 | 0.171 | 0.083 | U_RES
Load_244_A | N_244 | 0.171 | 0.083 | U_RES
Load_246_A | N_246 | 0.269 | 0.13 | U_UFF
Load_247_A | N_247 | 0.171 | 0.083 | U_RES
Load_248_A | N_248 | 0.171 | 0.083 | U_RES
Load_249_A | N_249 | 0.171 | 0.083 | U_RES
Load_250_A | N_250 | 0.135 | 0.065 | U_RES
Load_250_A | N_250 | 0.135 | 0.065 | U_RES
Load_251_A | N_251 | 0.269 | 0.13 | U_UFF

## Static generators
Gen ID | Node | P_oper [MW] | Q_oper [MVar] | Profile Type
G_050 | N_050 | 2 | 0 | PV
G_220 | N_220 | 2 | 0 | PV
G_220 | N_220 | 2 | 0 | PV
G_196 | N_196 | 2 | 0 | PV
G_056 | N_056 | 2 | 0 | PV
G_190 | N_190 | 2 | 0 | PV
G_157 | N_157 | 2 | 0 | PV
G_248 | N_248 | 0.4 | 0 | PV
G_188 | N_188 | 2 | 0 | PV
G_218 | N_218 | 2 | 0 | PV
G_135 | N_135 | 0.4 | 0 | PV
G_133 | N_133 | 2 | 0 | PV
G_221 | N_221 | 2 | 0 | PV
G_049 | N_049 | 0.4 | 0 | PV
G_054 | N_054 | 2 | 0 | PV
G_062 | N_062 | 2 | 0 | PV
G_112 | N_112 | 0.4 | 0 | PV
G_221 | N_221 | 2 | 0 | PV
G_219 | N_219 | 2 | 0 | PV
G_046 | N_046 | 0.4 | 0 | PV
G_113 | N_113 | 2 | 0 | PV
G_158 | N_158 | 2 | 0 | PV
G_132 | N_132 | 2 | 0 | PV
G_190 | N_190 | 2 | 0 | PV
G_173 | N_173 | 2 | 0 | PV
G_090 | N_090 | 2 | 0 | PV
G_133 | N_133 | 2 | 0 | PV
G_050 | N_050 | 2 | 0 | PV
G_249 | N_249 | 2 | 0 | PV
G_062 | N_062 | 2 | 0 | PV
G_051 | N_051 | 2 | 0 | PV
G_110 | N_110 | 2 | 0 | PV
G_071 | N_071 | 2 | 0 | PV
G_139 | N_139 | 2 | 0 | PV
G_107 | N_107 | 2 | 0 | PV
G_246 | N_246 | 2 | 0 | PV
G_242 | N_242 | 2 | 0 | PV
G_046 | N_046 | 2 | 0 | PV
G_212 | N_212 | 2 | 0 | PV
G_087 | N_087 | 2 | 0 | PV
G_132 | N_132 | 2 | 0 | PV
G_160 | N_160 | 2 | 0 | PV
G_244 | N_244 | 1 | 0 | PV
G_132 | N_132 | 0.4 | 0 | PV
G_249 | N_249 | 0.4 | 0 | PV
G_090 | N_090 | 2 | 0 | PV
G_194 | N_194 | 2 | 0 | PV
G_190 | N_190 | 1 | 0 | PV
G_159 | N_159 | 0.4 | 0 | PV
G_194 | N_194 | 0.4 | 0 | PV
G_190 | N_190 | 2 | 0 | PV
G_063 | N_063 | 2 | 0 | PV
G_054 | N_054 | 1 | 0 | PV
G_250 | N_250 | 0.4 | 0 | PV
G_062 | N_062 | 0.4 | 0 | PV
G_044 | N_044 | 2 | 0 | PV
G_161 | N_161 | 2 | 0 | PV
G_226 | N_226 | 1 | 0 | PV
G_191 | N_191 | 0.4 | 0 | PV
G_064 | N_064 | 0.4 | 0 | PV
G_110 | N_110 | 2 | 0 | PV
G_136 | N_136 | 2 | 0 | PV
G_249 | N_249 | 1 | 0 | PV
G_061 | N_061 | 0.4 | 0 | PV
G_224 | N_224 | 0.4 | 0 | PV
G_174 | N_174 | 2 | 0 | PV
G_111 | N_111 | 2 | 0 | PV
G_064 | N_064 | 2 | 0 | PV
G_133 | N_133 | 2 | 0 | PV
G_138 | N_138 | 2 | 0 | PV